Contents

No table of contents entries found.

# Maximum iBCI Power Characteristics

https://www.ncbi.nlm.nih.gov/books/NBK3932/

limits of a 2°C temperature increase, of 40 mW/cm2 heat flux, and of 1.6 mW/g of SAR

Mean brain temp of 38.5 -> https://academic.oup.com/brain/article/145/6/2031/6604351?login=false

Safe up to 40.5 degrees

# Power Analysis

https://docs.amd.com/r/en-US/ug907-vivado-power-analysis-optimization/Analyzing-Power-Reports-from-the-Vivado-Integrated-Design-Environment

- These constraints will define the thermal solution and based on this, Report Power will estimate the Junction Temperature and therefore the static power more accurately.

  - set_operating_conditions -ambient_temp <max Ambient requested for application is Celsius>

  - set_operating_conditions -thetaja <the rise in junction temperature for every watt dissipated, obtained from thermal simulation, C/W>

- In the example above the Toggle Rate has been set to 1.5% and Static Probability is set to 0.8. On the Tcl Console the following XDC constraint will be displayed when the Vivado Integrated Design Environment commits the change on OK.

  - set_switching_activity -toggle_rate 1.500000 -static_probability 0.800000 [get_nets led]

  - set_switching_activity -default_static_probability 0.5 -default_toggle_rate 12.5

  - Toggle rate (%) is the rate at which the output of a synchronous logic element switches with respect to a given clock input. It is modeled as a percentage between 0 - 100%. A toggle rate of 100% means that on average the output toggles once during every clock cycle. As an example, If a signal changes at every four clock cycles with respect to a clock of any frequency, then the Toggle Rate is: (1/4)*100 = 25%. Important: The toggle rate for clock nets is always 200%, which means that the net toggles twice in a cycle. Tip: Ideally a synchronous net changes at the most once per clock (except DDR nets); thus the maximum toggle rate is 100%. If a synchronous net is prone to glitches, use Signal Rate to specify the switching activity

  - Static probability defines the fraction of time during which the considered element is driven at a high (1’b1) logic level and the valid range is 0 to 1. As an example, if a signal is at Logic 1 for 40 ns in a duration of 100 ns, the static probability = 40/100 = 0.4. Tip: Static Probability = 1 represents that the considered element is held at Logic 1 throughout the analysis duration and never toggles. Similarly, Static Probability=0 represents that the considered element is held at Logic 0 throughout the analysis duration and never toggles.

- Device environment

  - Thermal: Ambient temperature, heat sink

  - Voltage: VCCINT, VCCAUX, VCCO

  - Device: Temperature grade, process corner

  - set_operating_conditions

    - set_operating_conditions -ambient 25

    - set_operating_conditions -voltage {vccint 1.0 vccaux 1.71}

  - report_operating_conditions

  - Device Grade = commercial

  - Process Type = typical

  - Junction Temp = 25.3 (C)

  - Ambient Temp = 25.0 (C)

  - ThetaJa = 5.00

  - ThetaSa = 4.6 (C/W)

  - ThetaJb = 7.5 (C/W)

  - Airflow = 250 (LFM)

  - Heat Sink Type = medium (Medium Profile)

  - Board Type = medium (10"x10")

  - Board Temp = 25.0 (C)

  - Number Of Board Layers = 12to15 (12 to 15 Layers)

  - Vccint = 1.000 V

  - Vccaux = 1.800 V

  - Vcco33 = 3.300 V

  - Vcco25 = 2.500 V

  - Vcco18 = 1.800 V

  - Vcco15 = 1.500 V

  - Vcco135 = 1.350 V

  - Vcco12 = 1.200 V

  - Vccaux_io = 1.800 V

  - Vccbram = 1.000 V

  - MGTAVcc = 1.000 V

  - MGTAVtt = 1.200 V

  - Vccadc = 1.800 V

  - {{Vccint 0.950V 1.000V 1.050V}

  - {Vccaux 1.710V 1.800V 1.890V}

  - {Vcco33 3.000V 3.300V 3.450V}

  - {Vcco25 2.380V 2.500V 2.630V}

  - {Vcco18 1.710V 1.800V 1.900V}

  - {Vcco15 1.430V 1.500V 1.580V}

  - {Vcco135 1.300V 1.350V 1.400V}

  - {Vcco12 1.140V 1.200V 1.260V}

  - {Vccaux_io 1.710V 1.800V 1.890V}

  - {Vccbram 0.950V 1.000V 1.050V}

  - {MGTAVcc 0.950V 1.000V 1.050V}

  - {MGTAVtt 1.140V 1.200V 1.260V}

  - {Vccadc 1.710V 1.800V 1.890V}}

  - Design Power Budget = Unspecified

  - Supply Current Budget: Vccint = Unspecified

  - Supply Current Budget: Vccaux = Unspecified

  - Supply Current Budget: Vcco33 = Unspecified

  - Supply Current Budget: Vcco25 = Unspecified

  - Supply Current Budget: Vcco18 = Unspecified

  - Supply Current Budget: Vcco15 = Unspecified

  - Supply Current Budget: Vcco135 = Unspecified

  - Supply Current Budget: Vcco12 = Unspecified

  - Supply Current Budget: Vccaux_io = Unspecified

  - Supply Current Budget: Vccbram = Unspecified

  - Supply Current Budget: MGTAVcc = Unspecified

  - Supply Current Budget: MGTAVtt = Unspecified

  - Supply Current Budget: Vccadc = Unspecified

- Can use bram power otpimizaition to optimize power at the cost of using more block ram

  - opt_design -bram_power_opt

- A typical pre-place power optimization script would be:

  - synth_design

  - opt_design

  - power_opt_design

  - place_design

  - route_design

  - report_power

- If junction temperature is not manually set, it is calculated based on the total power of the device, the cooling system, board selection, and ambient conditions

Says maximum junction temperature based on the inputs (the temperature of the actual semiconductor in an electronic device)